##### Annexure-I

##### Academic Curriculum for PG Diploma in

WATER RESOURCES DEVELOPMENT (WRD)

| Teaching Scheme | Contact Hours per Week | Exam. Duration (Hrs.) | Relative Weightage (%) |
| --- | --- | --- | --- |
| S. No | SUBJECT CODE | COURSE TITLE | SUBJECT AREA | CREDITS | L | T | P | Theory | Practical | CWS | PRS | MTE | ETE | PRE |
| 1st YEAR I SEMESTER (AUTUMN) |
| 1. | WR-501 | System Design Techniques | PCC | 4 | 3 | 1 | 0 | 3 | - | 25 | - | 25 | 50 | - |
| 2. |  | Program Core Course 1 | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 3. |  | Program Core Course 2 | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 4. |  | Program Core Course 3 | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 5. |  | Program Elective Course | PEC | 4 | as per elective course |
| Sub Total | 20 |  |

| II SEMESTER (SPRING) |
| --- |
| 1. | WR-505 | Preparation of Water Resources Project Report | PCC | 2 | - | - | 4 | - | - | - | 50 | - | - | 50 |
| 2. |  | Program Elective Course | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 3. |  | Program Elective Course | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 4. |  | Program Elective Course | PEC | 4 | as per elective course |
| 5. |  | Program Elective Course | PEC | 4 | as per elective course |
| 6. | WR-700 | Seminar | SEM | 2 | - | - | - | - | - | - | - | 100 | - | - |
| Sub Total | 20 |  |
| Total | 40 |  |

PROGRAMME CORE SUBJECTS

For Civil Background

| 1. | WR-502 | Design of Water Resources Structures | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | WR-503 | Water Resources Planning and Management | PCC | 4 | 3 | 1 |  | 3 | - | 25 | - | 25 | 50 | - |
| 3. | WR-504 | Applied Hydrology | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |

For Electrical Background

| 1. | WR-531 | Hydro Generating Equipment | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | WR-532 | Hydropower System Planning | PCC | 4 | 3 | 1 |  | 3 | - | 25 | - | 25 | 50 |
| 3. | WR-533 | Power System Protection Application | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 |

For Mechanical Background

| 1. | WR-532 | Hydropower System Planning | PCC | 4 | 3 | 1 |  | 3 | - | 25 | - | 25 | 50 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | WR-551 | Design of Hydro Mechanical Equipment | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 |
| 3. | WR-552 | Construction Planning and Management | PCC | 4 | 3 | 1 |  | 3 | - | 25 | - | 25 | 50 |

|  | WR-511 | Geotechnical Engineering | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | WR-512 | Hydropower and Appurtenant Works | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-513 | Earth and Rockfill Dams | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-514 | Masonry and Concrete Dams | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-515 | Irrigation Structures | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-516 | Rural and Urban Water Supply | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-517 | River Engineering | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-518 | Finite Element Methods | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-519 | Water Resources System Reliability | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-520 | Environmental Impact Assessment of Water Resource Projects | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-521 | Groundwater Hydrology | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-522 | Climate Change and Water Resources | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-534 | Substation and Transmission line Design | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-535 | Installation Maintenance and Testing of Hydro Generating Equipment | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-536 | Maintenance Management in Power Plants | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-537 | Power System Management | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-538 | Electrical Design of Hydro Power Station | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-539 | Power System Operation and Control | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-540 | Control and Instrumentation of Hydro Power Plant | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-541 | Power System Analysis | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-542 | Power System Reliability | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-543 | Insulating Systems | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-544 | Planning and Design of Small Hydro Power Schemes | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-545 | Power Electronics Controlled Hydro-Electric Systems | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-546 | Modelling and Simulation of Hydro-Electric Energy Systems | PEC | 4 | 1 | 1 | 4 | 2 | 2 | 20 | 20 | - | 40 | 20 |
|  | WR-547 | Synchronous and Asynchronous Generators Laboratory | PEC | 4 | 1 | - | 6 | - | 3 | - | 50 | - | - | 50 |
|  | WR-548 | Power Electronics Laboratory | PEC | 4 | 1 | - | 6 | - | 3 | - | 50 | - | - | 50 |
|  | WR-549 | Control and Instrumentation Laboratory | PEC | 4 | 1 | - | 6 | - | 3 | - | 50 | - | - | 50 |
|  | WR-553 | Design of Construction Job Facilities | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-554 | Construction Plant Machinery | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-555 | Air Conditioning and Ventilation | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-556 | Construction Techniques | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
|  | WR-571 | Design of Irrigation Structures and Drainage Works | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 34. | WR-572 | Soil and Agronomy | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 35. | WR-580 | Renewable Energy System Technology | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 36. | WR-581 | Water Quality Monitoring and Modeling | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 37. | WR-583 | Remote Sensing and GIS Applications in Agriculture | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 38. | WR-586 | Groundwater Development and Management | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 39 | WR-587 | Watershed Development and Management | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |

Program Elective Courses (WRD)

PROGRAM CORE COURSES (WRD)

WR-501 System Design Techniques

System concepts: Boundary, environment, input, output and constraints; Open and closed systems; System modeling, water resources systems, issues in system application; Operation research approach to system analysis . Linear programming: Model formulation, graphical method, simplex procedure- two phase, big-M, dual simplex, primal-dual simplex, modified simplex procedures; Upper bounded solutions, sensitivity analysis. Transportation problems: Basic feasible solution techniques, testing for optimal solution; Integer and mixed integer problems, assignment problems, applications for efficient water resources management. Non linear programming (NLP): Separable and convex programming problems, quadratic programming, unconstrained and constrained NLPproblems, chance constrained programming, method of calculus, search techniques. Dynamic programming: Optimality principle, deterministic and stochastic dynamic programming, application to water resources problems. Decision making: Value and utility concepts, goal programming, decision theory and decision trees, decision making under risk and uncertainty, theory of games; Multi criteria decision making- distance  based and compromise techniques.

WR-502 Design of Water Resources  Structures

Design of hydraulic structures on permeable foundation including weir and barrage; determination of afflux and discharge intensity; waterway and looseness factor; stilling basin level and length; uplift pressures and exit gradient; floor thickness and protection works. Gravity dams- general features; forces acting on gravity dam; galleries and their functions; stability analysis; roller compacted RCC dams. Earth dams- homogeneous and zoned sections; filter design and stability analysis. Spillways-layout and design of various types of spillways; design of energy dissipaters. Intake Structures-trash racks and their cleaning and handling devices; stoplog arrangements; intake entrance; aeration vent; gate control. Tunnels-classification; rock cover; hydraulic design and supporting systems; concrete lining; portals and plugs; underground cavities. Gates- various types of gates for barrages; spillways; intakes; sluices; structural design considerations for vertical lift and radial gates. Hydro power-function; classification and main components (penstocks, surge tanks, hydro turbines, etc.) of hydro power stations.

WR-503 Water Resources Planning and Management

Objectives of water resource development; needs and opportunities; societal goals. Spatial and temporal characteristics of water resources; constraints for its development like non-reversibility; planning r e g i o n and horizon. Financial analysis of water resources projects; allocation of cost of multipurpose projects; repayment of cost.  Demand for drinking water; irrigation, hydropower; navigational; planning for flood control. Characteristics and functions of reservoir; reservoir sedimentation; conservation storage; conflict among uses, Reservoir operation studies -effect on river regime; long term simulation; reliability; resiliency and vulnerability assessment. Ground water evaluation; conjunctive use of surface and ground water. Discounting techniques; benefit cost parameters; estimation of benefits and costs; appraisal criteria; social benefit cost analysis. Basin planning; inter-basin transfer of water. Environmental impacts assessment guidelines and case studies.

WR-504 Applied Hydrology

Introduction: Hydrologic design requirements, hydrologic cycle, classification of processes and models Hydrologic Data: Observation and collection; Processing -supplementing, consistency checking, corrections and presentation Frequency Analysis: Probability distributions, statistical analysis, return period of flood and storm, outliers, regional flood frequency, confidence interval and goodness of fit Rainfall runoff models: Empirical, conceptual and physical; Unit hydrograph; Decisions with inadequate hydrologic data Hydrologic Design: Design criteria, dependable yield, design storm, design flood estimation, reservoir and channel routing Flood Forecasting: Travel time, correlation, telemetry, gage and discharge forecasting Elements of Groundwater Hydrology: Ground water recharge, ground water balance, aquifer properties.

WR-531 Hydro Generating Equipment

Characteristics and specification of hydro-generators; constructional details- bearings and bearing location; brakes and jacks for hydro-generators. Cooling and ventilation- insulation and temperature limits; fire protection; electrical and mechanical tests; operating limits of hydro generators. Unit transformer and bus duct- excitation system and voltage regulators; excitation requirement; sources; drives; automatic excitation control equipment; typical schemes. Different types of turbines with their constructional details including reversible pump turbines, tubular, bulb and straflow turbines their characteristics and selection. Cavitation and Turbine setting; testing of water turbines at manufacturer's works and at site, model tests. Mechanical governors, electro hydraulic governors, digital governors, pressurized oil system for hydro-turbines.

WR-532 Hydropower System Planning

Sources of energy and status of hydropower-global power scenario; hydropower policies of various countries; principles of hydropower development; components of a hydropower scheme, types of hydro power plants – run-of-river; valley dam; diversion canal plants; high head plants; pumped storage schemes, etc.; power house planning for surface and sub-surface hydropower plants. Rainfall–runoff relationships, flow measurement in rivers and streams, hydrograph analysis, design flood estimation, flow and power duration curves, power potential estimation, prediction of firm and secondary power, load curve, load, capacity, utilization and diversity factors, determination of installed capacity. Diversion structures, different types of dams and their suitability, site selection, intakes, spillways, and energy dissipaters. Water conveyance through penstocks-design criteria and economic diameter of penstock; conduit valves; water hammer. Economics and financial analysis of hydropower projects -time value of money; discount rate; single payment interest factors; uniform series factors; capital recovery factor;effect of inflation; depreciation; return on investment, Benefit cost analysis- Internal rate of return; levllisation; generation cost; energy pricing and tariff principles.

WR-533 Power System Protection Applications

Principles of power system protection application Current and voltage transformers characteristics and application Electro-mechanical, static and microprocessor-based relays Electrical protection of generators and generator transformers Protection of transformers for electrical and incipient faults Different types of electrical protection applicable to bus zones Protection of transmission lines by over current, pilot-wire, distance and with carrier application Protection of single phase and three phase motors- induction and synchronous types; Protection of reactors, capacitor banks and industrial power systems

WR-551 Design of Hydro Mechanical Equipment

Different types of hydro turbines with their constructional details including reversible pump turbines, tubular, bulb and straflow turbines their characteristics and selection. Pumps for pumping water-characteristics; selection of size and type and constructional features . Gates for different types of spillways; barrages; under sluice and dam outlet, their general features and comparative merits; structural design of radial and vertical lift gates. Different types of hoists for gates- design of rope drum hoist; different types of valves and their selection. Different types of penstock layout- hydraulic and structural design of penstocks. Fabrication, handling, alignment, erection and support arrangement, painting and testing of penstocks.

WR-552 Construction Planning and Management

Problems in planning and control of present day construction- applications of System Design Techniques; advantages and limitations of systems approach. Linear Programming applications like transportation and assignment models. Waiting line models for construction planning and management Inventory Models and Replacement Models in construction planning and management. Network systems in project planning; use of CPM in planning scheduling and controlling of construction projects. Network development and monitoring of construction projects.       Network crashing and time-cost trade off in construction planning and management. Use of different techniques for resource allocation and leveling in construction planning and management. Use of PERT in construction planning- PERT analysis; use of dynamic programming in project evaluation and construction planning and management.

PROGRAM ELECTIVES

WR-511 Geotechnical Engineering

Composition and classification of soil: Importance of soil mechanics in water resources applications; Textural properties and their determination; Identification and classification of soils. Seepage analysis: Flow net; Theory of seepage and analysis; Quick-sand phenomenon and seepage forces. Compressibility and consolidation: Compressibility of soil; Terzaghi's theory of consolidation; Secondary consolidation. Shear strength of soils: Friction; Mohr's circle; Strength theories for soils; Pore pressure parameters; Shearing characteristics of sand and clay. Stability of earth slopes: Earth pressures; Stability of retaining walls; Bearing capacity; settlement analysis. Foundation– Types of  shallow foundation, foundation on nonuniform soils; Deep foundation; Design and construction of pile foundation. Engineering geology: Classifications and properties of rocks, folds, faults, joints; Unconformities and their bearing on engineering structures; Geophysical and geological explorations for various engineering projects. Rock mechanics: Theories of failure and strength of rock masses; Geological investigations of dams, reservoirs and tunnels; Design of rock anchors and cables for slopes, dam abutments and foundation.

WR-512 Hydropower and Appurtenant Works

Surface hydro power stations: Basic functional features and typical general arrangements; Classification of surface power houses, vertical sub-divisions, type of super structures; Overall layout, preliminary dimensions of various components, main floor levels. Arrangement at various floors: Details of auxiliary equipment, arrangement at various floors, joints, collection of data, design and indexing of loads. Stability analysis of powerhouse: Stability of substructures, intermediate structures and superstructures. Underground power stations: Number and size of cavities, their location and alignment, auxillary equipments and their arrangement, supporting arrangements for roof and sides, design considerations, design of gantary girder column. Tunnels and shafts: High head pressure tunnels and shafts, design considerations, design of concrete lining and steel liner, pre- stressed concrete lining, grouting and drainage. Surge tanks: Characteristics and suitability of various types of surge tanks like simple, restricted orifice and differential types, criteria for design and stability, hydraulic design. Penstocks: Water hammer phenomenon, velocity and pressure waves, estimation of over-pressures by arithmetic integration and by use of charts and curves, effects of over pressure on governing of turbines; Forces acting on penstock pipe lines and preliminary design of steel penstocks, fabrication and testing of penstocks; Design of anchors, piers and saddles. Switchyard: Equipments in the switchyard and their layout, design of foundation.

WR-513 Earth and Rock Fill Dam

Materials properties of soils: Pore pressure parameters; Hilf Bishop method; Shear strength of soils; Mohr Coulomb failure criterion; Factors contributing to slope failure. Design criteria: Types of earth dams; Design considerations- Freeboard calculations, dam section, upstream slope protection; Design considerations in earthquake regions; Filter design; Causes of damage and failure, typical case studies. Seepage control: Control of seepage through earth dam on pervious soil foundation and on impervious base; Cutoff trench; Sheet pile; Alluvial grouting; Slurry trench; Horizontal upstream blanket; Relief wells; Loading berm; Treatment of rock foundations and grouting. Stability analysis: Total and effective stress methods of analysis; Standard method of slices, Simplified Bishop method; Wedge method; Stability conditions during construction, full reservoir and reservoir drawdown. Analysis of dam: Introduction to finite element method (FEM); FEM analysis of dams; Nonlinearity in soils. Rockfill dam: Considerations favouring choice of a rockfill dam; Principles of design; Selection of materials; Stability analysis by wedge method, Different types of impervious cores and their locations; Different types of face members; Settlement in rock fill dams; Procedure for placement and compaction of rock fill. Instrumentation in earth dams: Measurements of deformations, pore pressures; Quality control; Foundation preparation and treatment; Quality control of materials and control of moisture, laying and compaction; Tests for quality control; Diversion during construction.

WR-514 Masonry and Concrete Dams

Introduction: Selection of site for different types of dams, selection of materials, layout of works; Properties of concrete as related to dams. Gravity Dams: Forces acting on a dam including uplift and wave forces; Design criteria for stability; Determination of dam profile; Computation of stresses by gravity analysis; Elastic analysis by finite element method and structural modelling techniques; Seismic design and analysis; Determination of internal stresses.Foundation treatment: Preparation of foundation including consolidation; Curtain grouting and treatment of faults and weak zones; Foundation cutoffs and drainage arrangements; Layout and location of spillway; Powerhouse and other appurtenances. Stressed and their management: Stresses around openings; Design of galleries in dams; Temperature stresses and methods of

temperature control; Joints and seals. Instrumentation and maintenance aspects: Instrumentation and analysis of data; Deterioration of concrete in dams and remedial measures. Hollow and buttress dams: Principles of hollow gravity dams; Stability criteria and determination of internal stresses. Arch dams: Classification, principles of layout and factors affecting layout; Theories for arch dam analysis.

WR-515 Irrigation Structures

Site selection and investigations for diversion works; Hydraulics of flow over weirs/under sluices; Hydraulic jump, seepage theory, Khosla theory, scour depth estimation, critical exit gradient. Design flood estimation; Types and design of energy dissipaters; protection works, transitions. Components of barrage- waterway, undersluice/weir, glacis, stilling basin and appurtenance works, cutoff, u/s and d/s protection works; Hydraulic design of barrage; Head regulator; Cross regulator. Types of cross drainage works; Design aspects of aqueducts, siphon aqueducts, super-passage, siphon. Concept of sediment removal, fall velocity, difference between sediment exclusion and ejection devices, design aspects of sediment excluder and sediment ejector. Types of loads and their combinations; Structural design of raft foundation, piers, abutments, and retaining walls.

WR-516 Rural and Urban Water Supply

Introduction: Planning and preparation of water supply schemes for rural and urban areas; Issues in water supply for hilly and coastal regions, regional and national perspective; Water pricing. Water Demand: Population forecasting, assessment of domestic, fire, industrial and public demands, demand management. Water Supply Sources: Surface and sub-surface, selection, protection, contamination protection zone, estimating potential yield and sustainability; Design of wells. Water Quality: Drinking water quality parameters, comparison of international and national codes, physical and chemical treatment processes, disinfection and appropriate technologies for water treatment. Components of Intake Works: Sizing water mains, pumps for water supply, pumping station, pipe appurtenances, pipe materials, laying of pipes, design of water distribution network and allied works. Water Distribution Networks: Flow through pipes, equivalent pipes, solving pipe network flow problems, use of computer software for network analysis.

WR-517 River Engineering

Sediment Transport Processes: Incipient motion of sediment particles; Regimes of flow; Resistance to flow and velocity distribution in alluvial streams; transport of bed, suspended and total load. River Morphology: Plan form variations and river channel pattern; Meandering and braided stream characteristics; River equilibrium, river dynamics and adjustments to stream power.  River Training Techniques: Principles of stabilisation and rectification of rivers, river bank stability analysis, spur / groyne, stream bank armouring, guide banks, submerged vanes, porcupine and jack jetty systems, gabions; Bandalling, surface and bottom panels.  Inland Navigation Channel Development: Fairway dimensions and maintenance, canalization, navigation locks and terminals. River Models: Mathematical modelling - types, mathematical formulation, numerical procedures, calibration and validation; Scale modelling – types, principles of similitude and dimensional analysis, model verification, limitations. Flood Management and Remote Sensing Applications: Flood control planning, flood plain zoning and other non – structural measures, use of satellite imageries and topo sheets for DEM generation for flood plain zone mapping.

WR-518 Finite Element Methods

Introduction: Finite difference method (FDM), finite element method (FEM), advantages of FEM over FDM and matrix algebra. Basics of FEM: Steps, formulation of element equations, shape functions for triangular elements, load and strain displacements, stress strain relations, variational principles.

Weighted Residual Methods: Collocation, sub-domain, Galerkin's and least square. Shape Functions: Linear elements, element equations, iso-parametric elements, Hermite polynomial, Jacobian matrix, numerical integration, two dimensional, Lagrangian, triangular and trapezoidal elements. Solution Techniques: Axisymetric problems - element equations, stiffness matrix, boundary conditions; Direct and Iterative methods, band solver and frontal solution techniques. Applications of FEM: Heat flow problems in one, two and three dimensions; Beams and trusses; Dams and seepage problems. Software Applications: Case studies, data preparation, processing and result reporting for field problems.

WR-519 Water Resources System Reliability

Introduction: Concepts of perceived and statistical risk, role of risk assessment in modern technological, social, and environmental context. Risk Assessment: Techniques, application of probabilistic and Markov models, uncertainty in risk assessment, decision-making under uncertainty and risk. Fuzzy Theory: Introduction, applications in risk analysis. Reliability concepts: Bath tub curve, hazard rate, failure density functions, repairable and non-repairable systems, mean time to failure (MTTF), mean time between failures (MTBF), mean time to repair (MTTR). Reliability Estimation: Useful life of components, reliability estimation under extreme value distributions. Water Resources Systems Reliability: Series, parallel and non-series-parallel systems reliability, fault tree analysis (FTA). Performance Evaluation: Reliability, resiliency, and vulnerability assessment; Case studies.

WR-520 Environmental Impact Assessment of WaterResources Projects

Introduction: Human concern; Need for environmental impact assessment (EIA); Requirements and levels of EIA; Potential impacts of water resource development projects. EIAProcedure: Screening, baseline data, scoping, terms of reference (TOR). Environmental Clearance: Guidelines, acts and legislations,  codes and country practices. Environmental flow: River as habitat, downstream direct and indirect uses, criteria and methods of assessment. Soil and Water Quality Management: Effect of project development on soil and water quality, water logging, soil salinity, and contamination, remedial measures. Rehabilitation: Submergence effects, rehabilitation guidelines, planning, and procedures. Monitoring: Parameters to be monitored, frequency of monitoring, reporting procedures. Remote Sensing and GIS Applications: Monitoring of land use changes, digital elevation model (DEM), assessment of land degradation, catchment area treatment plan. Simulation Exercises and Case Studies.

WR-521 Groundwater Hydrology

Introduction: Occurrence of groundwater sources; Groundwater bearing formations; Classification of aquifers; Flow and storage characteristics of aquifer; Hydrologic budget. Groundwater movement: Darcy's law; Hydraulic conductivity and its determination; Anisotropy and heterogeneity; Groundwater flow rates and directions, governing equations for groundwater flow; Analytical solutions, general flow equation; Unsteady flow. Well hydraulics: Steady unidirectional and radial flow; Unsteady radial flow in confined and unconfined aquifers; Leaky aquifer; Determination of aquifer parameters; Pumping tests and analysis; Well flow near different boundaries; Multiple well systems; Interference of wells. Groundwater wells: Types and features of each type of wells; Well development, yield test. Groundwater quality: Indian and international standards; Pollution of groundwater and possible sources; Remedial and preventive measures. Groundwater flow modeling: Need of groundwater flow models; numerical modeling, 2D and 3D groundwater flow models; MODLFOW and its application. Conjunctive use planning: Planning of groundwater development; Conjunctive use models, constraints, application in water resources management. Groundwater conservation: Regional groundwater budget; Resource assessment; Estimation of recharge; Artificial recharge; Rainwater harvesting.

WR-522 Climate Change and Water Resources

Introduction to atmospheric science: Earth, its atmospheric cycle and its relation with climate; Green house gas and climate change; Earth and green house effect; Past climate change; Lessons from history; Present and future climate changes. Ecological effect on freshwater systems- surface water, ground water and glaciers; Agriculture; Marine environment; Causes, human dimension- impact of human settlement and infrastructure, environmental quality. Analysis for climatic change assessment, statistical analysis of long-term meteorological and hydrological data; Trend analysis. Available climatic models such as GCM; Hydrologic models such as SWAT and Mike11; Downscaling of GCM to regional/local scales. Mitigation- capture of sequester carbon emissions, reducing global warming, renewable energy technologies, efficient use of energy. Policy, laws, economics, benefits and costs of mitigating climate change, international cooperation.

WR-534 Substation and Transmission Line Design

Transmission system planning including selection of voltage, AC and DC transmission systems, number of circuits. Travelling waves, lightning phenomenon, lightning and switching surges, surge wave shapes over voltages in power systems- types lightning, switching and temporary control of over voltage, statistical haracteristics of over voltage; Flashover characteristics of rods gaps and insulators. Characteristics of lightning arresters and protective devices, selection of lightning arresters, insulation coordination, location of protective devices, direct stroke protection, protection of transformers, surge protection of generators. Electrical design of overhead lines, choice of conductor, voltage regulation, losses, charging requirements; Surge impedance loading; Stability considerations; Corona and radio interference characteristics. Survey of transmission lines, plotting of profiles, planning and locating line supports; Inductive coordination between power and communication lines; Series and shunt compensation. Design of various HV and EHV substations, switching and busbar schemes, typical layouts, oil and compressed air systems. Power transformers- specification, types, rating electrical characteristic, insulation temperature rise. Circuit breakers- types, ratings, electrical characteristics

WR-535 Installation, Maintenance and Testing of Hydro Generating Equipment

Basic components of hydro turbines, pre-requisite for erection of hydro turbine, erection of under water parts, concreting of embedded parts, erection of internal parts for Francis, Kaplan, Deriaz and Pelton turbines (vertical type), erection precision. Erection of vertical large generator. Hydraulic model testing of hydro turbines and on-site testing. Pre-commissioning and commissioning tests on generator. Erection of large power transformers, commissioning tests and preventive maintenance tests of solid and liquid insulation, reconditioning and reclaiming methods of insulating oil. Preventive maintenance testing of generator insulation. Routine and preventive maintenance and capital maintenance of hydro turbines and generators. Testing of protective relays, over current, impedance and directional relays. Preventive maintenance and its scheduling, maintenance of records, record keeping and analysis.

WR-536 Maintenance Management in Power Plants

Importance of maintenance, objectives, functions, maintenance management strategies for hydro power stations and their organization. Maintenance policies and planning- maintenance strategies and their advantages and disadvantages, planned maintenance procedure, advantage of planned maintenance, scientific maintenance, safety in maintenance. Maintenance activities- optimal overhaul, repair or replacement policies for equipments subjected to breakdown, budgeting and control, production maintenance integration. Replacement decisions- economic models, replacement policy, economics of preventive maintenance. Maintainability and availability- economics of maintainability and reliability, maintainability increment, equipment availability. Management information systems for maintenance.

WR-537 Power System Management

Management and its goals- management processes, managerial skills and performance, policy and objectives of a power utility; electricity industry and market- main concerns of electric utilities, performance of electric utilities, power sector changes. Financial accounting of utility- balance sheet, income statement, accounting for depreciation, interest charges during construction, financial performance analysis. Investment proposal- interest and compounding, measure of price- public and private perspective, internal rate of return and payback period. Cost of generation, levellisation of cost of generation; Tariff for electricity- objectives, traditional approach, long-run marginal costs, general principles of tariff  design.Dynamic, spot and real time pricing strategy, bidding strategies. Concepts and methods of demand side management (DSM)- load control, energy efficiency, load management, DSM planning, design, marketing, customer incentives. Fundamentals of deregulation- privatization and deregulation, necessity for restructuring the power industry, necessity of unbundling of generation, transmission and distribution. Components of restructured systems, independent system operators, functions and responsibilities, trading arrangements (pool, bilateral and multilateral),  open access transmission system. Different models of deregulation- Indian model, UK model, California model, Australian and New Zealand models, Japan model, Thailand model.

WR-538 Electrical Design of Hydro Power Station

Selection of turbine and generating equipment for conventional, small hydro and pumped storage stations. Types of pumping schemes- sources of power for pumping, starting of reversible units, pumped storage plant operation in the system, economics, choice of site, choice of plant. Design and dimensional parameters of the turbine and generators; Cavitation and turbine setting. Planning and layout of electrical equipment in a conventional, small hydro and pumped storage stations- case studies; Turbine governing, speed and pressure regulation, relief valves, frequency control. Auxiliary power supply system design and equipment, power and control cables and their ratings. Auxiliary system design and equipment for DC system and batteries, lighting system, grounding system, control and annunciation system and internal communication system. Auxiliary system design involving air conditioning and ventilation system, lubricating oil system, fire protection system, power house crane and drainage and dewatering systems.

WR-539 Power System Operation and Control

Modelling of generator, load, prime-mover, governor and excitation system. Modelling of governor and excitation system. Probabilistic methods for generation planning. Unit commitment- spinning reserve, thermal unit constraint, hydro constraints and solution methods. Long-term and short-term hydro-generation scheduling. Hydro-thermal scheduling- problem formulation and solution. Interchange evaluation- economy, capacity, diversity emergency power, inadvertent power exchange, energy banking. Power pools- energy broker system, centralized economic dispatch of a power pool, allocating pool savings. Power system security evaluation, factors affecting power system security, contingency analysis. Power system state estimation- maximum likelihood weighted least squares estimation, detection and identification of bad data, application of power system state measurement.

WR-540 Control and Instrumentation of Hydro Power Plant

Essentials of measurement, implementation and scope of instrumentation; Performance characteristics, accuracy, response time, reliability and availability, types of equipment. Measurement techniques and instruments for temperature, pressure, level, flow, speed, vibration, electric power and power factor measurement. Strip-chart and X-Y recorders of galvanometric and servo types- magnetic recorder; FM recording technique; Indicating and display devices. Control room instrumentation- design factors and validation, operator interface and ergonomics, computer based displays. DC, AC pulse and digital telemetry, signal transmission media. Automation schemes in hydro-electric power plants for start and stop operation. Elements and functions of SCADA system, automatic controllers closed loop control; On-off, proportional, PI and PID controllers, pneumatic and electronic controllers, automatic controllers in hydro-electric plant.

WR-541 Power System Analysis

Complex power in balanced transmission lines, per unit system, constant impedance representation of the loads, three winding transformers, autotransformers, delta-wye and  wye -delta transformations. Disturbance of normal operating conditions, fault types and their analysis, symmetrical components, sequence networks balanced three phase faults at no load and full load, analysis of unbalanced faults, application of current limiting reactors. Load flow analysis, Gauss iterative method, Gauss-Seidel iterative method and its applications; Ybus, application of acceleration factors, application of Gauss-Seidel method Zbus; Newton - Raphson method and its applications in rectangular coordinates and polar coordinates; Decoupled load flow method, fast decoupled load flow method, DC load flow method. Linear models of the synchronous machine, steady-state equations and phasor diagrams, initial conditions for a multi-machine system, analog and digital simulation of synchronous machine. Excitation systems- control configuration, response, state-space description, computer representation, typical system constants, effect of excitation on generator performance. Speed governing,  modeling of governing system for hydro turbines. Modeling of hydraulic turbine prime movers, conduits, surge tanks and penstocks, hydraulic system equations, hydraulic system transfer function, block diagram for a hydro system.

WR-542 Power System Reliability

Basic probability theory, binomial distribution, Poisson distribution, normal distribution, adequacy and security evaluation. Basic reliability concepts- general reliability function, exponential distribution, mean time to failure, series and parallel systems, Markov and continuous Markov processes, recursive techniques; Other Markov applications- simple series and parallel system models. Component reliability- non-repairable components, hazard models, components with preventive maintenance, repairable

components, ideal repair, ideal repair and preventive maintenance, repairable components, normal repair and preventive maintenance. Static generating capacity reliability evaluation-capacity outage probability tables, the loss of load probability method, load forecast uncertainty, the loss of energy probability method, frequency and duration approach. Spinning generating capacity reliability evaluation-spinning capacity evaluation, load forecast uncertainty, derated capacity levels. Transmission system reliability evaluation-average interruption rate method, frequency and duration method, stormy and normal weather effects, Markov process approach, system studies. Composite system reliability evaluation- service quality criterion, conditional probability approach, simple system application, two-plant single load systems, two-plant two load systems, networked system approach. Interconnected system generating capacity reliability evaluation- probability array for two systems, loss of load approach, reliability evaluation in more than two systems, interconnection benefits. Direct current transmission system reliability evaluation- system failure modes, loss of load approach, frequency and duration approach, Spare valve assessment, multiple bridge equivalents. Assessment of reliability worth- interruption cost for commercial users, industrial users, residential users and interruption energy assessment rate.

WR-543 Insulating Systems

Electrical conduction of dielectrics, volume resistance, electrical conduction in metals, semi-conductors and dielectric, band theory of solids, ionic and molionic electrical conduction of dielectrics, electrical condition of gases, dependence of resistivity of dielectric on various factors, surface conduction of dielectrics.Polarization of dielectrics, relationship between capacitance and resistance of an insulator, polar and non-polar dielectric, polarization, dependence of permittivity on various factors, electric fields in non-homogeneous dielectrics, mechanical forces in dielectric. Dielectric losses, basic definitions and equations, dependence of tan delta on various factors, dielectric losses under nonsinusoidal voltage. Breakdown of dielectrics, breakdown of gaseous, liquid, solid dielectrics. Non-linear dielectrics, ferroelectrics, capacitors with a barrier layer, piezoelectrics; Properties of dielectrics, wetting thermal and radiation properties. Insulation of power transformers, construction of the insulation of power transformers, transient processes in transformer windings, internal protection of transformers, testing of transformer insulation. Insulation of high voltage rotating machines and its construction, puncture voltages of the insulation of rotating machines, methods of elimination of corona in the insulation of rotating machines, transient phenomena in windings of electrical machines, testing of the insulating systems. Insulation of high voltage power cables, types and construction, oil fuel cables, testing of cable insulations, insulation of power condensers, paper impregnated condenser insulation. Preventive testing of insulation, measurement of tan delta and capacitance, partial discharges and methods of its detection, preventive testing of bushings, suspension and post insulators, preventive testing of transformer insulation, preventive testing of insulation rotating machines, preventive testing of cables with viscous impregnation .

WR-544 Planning and Design of Small Hydro Power Scheme

Small hydro definition and country status, government policy for renewable energy development including small hydro, basic components of a small hydro scheme  Hydrology, regional flow duration models, rainfall-runoff modeling for small catchments, flow duration, considerations for environmental flow Planning and design of diversion, intake, desilting and water conductor system Types of turbines for small hydro, their characteristics, construction and selection of turbine Synchronous and induction generators– characteristic, specification and application Power evacuation system, design, control systems  Planning and design of auxiliary systems– cooling water, drainage and dewatering, ventilation and lighting Protection of synchronous and induction generators, protection of transformer and transformer feeder Economic and financial analysis of small hydro projects Case Studies– low, medium and high head small hydro projects

WR-545 Power Electronics Controlled Hydro-Electric Systems

Introduction, Interdisciplinary nature of power electronics, interconnection of renewable energy sources and energy storage, Power semiconductor devices: Diode, Thyristor, Triac, GTO, BJT, Power MOSFET, IGBT, SIT, IGCT, commutation, line commutated diode and thyristor rectifiers: single phase and three phase, practical limitations, application of line commutated rectifiers Gate commutated inverters (DC to AC converter), single phase square wave inverter, single phase PWM inverter, three phase inverters, cycloconverters, AC voltage regulators. Static excitation systems, Variable speed operation of electric generators (synchronous and asynchronous): Equivalent circuit, operation at the power grid, autonomous operation, electrical losses and efficiency, modeling of synchronous and squirrel cage and doubly-fed induction machines in d-q frame, static power converters for induction generators, vector control of machine-side and source-side converters. Voltage, active power and reactive power control in variable speed hydro generators, parallel operation of induction generators, static capacitor exciter stand-alone induction generator for pumping applications, power control strategies for pumped storage system: load following and frequency droop control, power factor and displacement factor.Electromagnetic compatibility: analysis of harmonic distortion, acceptable levels of distortion in main supply system, voltage and current in the machine side converters, methods of reducing harmonic voltages, protection of ac converters and generators, installation and commissioning of converters

WR-546 Modelling and Simulation of Hydro-Electric Energy Systems

Electromagnetic energy conversion modelling and analysis: Energy relationships - Energy in coupling fields - Interpretation of energy conversion  Steady state and dynamic performance of an electromechanical system Modeling of converters: Modeling of back to back converters based on Two-Level VSC Topology used for synchronous and asynchronous generators in hydroelectric energy system, Pulse Generation of the Controlled Switches Synchronous generator: Modeling of synchronous machine, excitation system, Simulation of developed model to study real and reactive power delivery, Abnormal operating conditions of synchronous generators Squirrel cage induction generator: Modeling of Squirrel cage induction generator, Modeling of excitation system, Simulation of developed model to study real and reactive power under grid disturbances: voltage unbalance, voltage sag/swell Doubly-Fed Induction Generator: Modeling of doubly fed induction generator steady state modelling dynamic modelling, Modeling of excitation system, Real and reactive power control of rotor circuit power converters, Doubly-Fed Induction Generator under grid disturbances

WR-547 Synchronous and Asynchronous generators Laboratory

Synchronous Generators -Stand-alone operation: Efficiency determination under part load operation, Voltage Regulation, Voltage and frequency control, Electronic load controller Grid connected operation: Synchronization, Real and reactive power control, Analysis of harmonic distortion Squirrel cage Induction generator: Stand-alone operation: Excitation capacitance calculation, No-load saturation current and voltage buildup, Load-voltage characteristics with different p.f loads, Effects of load voltage by inserting capacitor in serious with load, Loss of residual magnetism, Generator under short circuit condition, Performance comparison of induction machine working as motor & Generator: stator current, Magnetizing current, Power factor, Efficiency, Core losses, Air gap voltage. Grid connected operation: Real and Reactive power control, Parallel operation of induction generator Doubly fed induction machine (DFIM): Power and energy measurement: Operation at stator short circuit, operation at rotor short circuit, Startup transient during motoring mode, Active and reactive power control at motoring and generation modes,  Equivalent circuit parameters Adjustable speed operation of hydro generators: synchronous generator, squirrel cage generator and DFIM, Active and reactive power control at variable speed, Voltage and frequency control using PWM voltage fed converter and dSPACE controller Measurements of harmonic distortions in machine side and grid side converters during variable speed operation.

WR-548 Power Electronics Laboratory

Exp.1 Characteristics of power electronic switches: DIAC, TRIAC, SCR, Power MOSFET and IGBT Exp.2 Study of driver circuit: SCR, Power MOSFET, and IGBT Exp.3 Study of PWM techniques (SPWM and SVPWM) Exp.4 SCR based single phase rectifier: (i) Semi controlled, (ii) Fully controlled Exp.5 SCR based three phase rectifier: (i) Semi controlled, (ii) Fully controlled Exp.6 IGBT based three phase PWM rectifier Exp.7 DC chopper circuits: Class A, B, C, D and E Exp.8 IGBT based single phase voltage source Inverter Exp.9 IGBT based three phase voltage source Inverter Exp.10 IGBT based three phase four quadrant back-to-back converter Exp.11 SCR based AC regulator: (i) Single phase, (ii) Three phase Exp.12 Cycloconverter

WR-549 Control and Instrumentation Laboratory

Control of asynchronous machines used in hydropower plants:

Exp.1 V/F control of squirrel cage induction motor using DSP/dSPACE controller

(i) open loop, (ii) closed loop. Exp.2 Soft starting of induction motor using solid-state devices Exp.3 Hysteresis current control of induction motor Exp.4 Vector control of induction motor drive using DSP/dSPACE controller Exp.5 Sensorless vector control of induction motor drive using DSP/dSPACE controler Exp.6 Speed control of wound rotor induction motor using Static Kramer Drive method Exp.7 Speed control of wound rotor induction motor using Static Scherbius Drive method Exp.8 Start-up transient analysis of wound rotor induction machine. Exp.9 Vector control of wound rotor induction with rotor power converter

Control of synchronous machines used in hydropower plants:

Exp.10 Closed loop voltage control of synchronous generator Exp.11 Real and reactive control of synchronous generator Exp.12 Vector control of synchronous machine

Control of mini hydropower plants:

Exp.13 Condition monitoring of hydro generators based on (i) stator current, (ii) vibration, (iii) thermal image processing Exp.14 PLC based closed loop control system for (i) speed, (ii) current, (iii) voltage, (iv) water level

WR-553 Design of Construction Job Facilities

Requirements of material handling, mechanization of material movements on construction for construction sites for handling of earth and concrete Belt and bucket conveyors, bucket elevators, screw conveyors and calculations for sizes and capacities of conveyors including design of principal components Selection of type and design of pneumatic conveyors for conveying bulk cement Hoisting equipment and its design and selection for different working conditions Selection of type and design of cable-ways for aerial transportation and placement of concrete Design of compressed air and water supply system on construction projects; Estimating construct ion power requirements Design and layout of plant for production of aggregates including scalping crushing screening, washing, stockpiling and reclaiming Planning for shop services; base and field workshops; layouts for workshops and principal workshop equipment; equipment for structural fabrication.

WR-554 Construction Plant Machinery

Mechanized nature of modern construction and responsibilities of mechanical engineers on construction projects, functional classification of construction equipment; Different types of prime movers, power ratings, power available, useable power, power requirements Grade-ability and pull ability, analysis of combined influence of rolling resistance and traction on ability to negotiate grade and ability to pull trailing load by track-mounted and wheel-mounted construction equipment Analysis and application of different types of planetary, hydraulic and hybrid transmissions for track-mounted and wheel-mounted construction equipment Analysis and application of different types of mechanical, hydraulic, electric and hybrid controls for steering and braking of track-mounted and wheel-mounted construction equipment Equipment specifications and procurement procedures, old versus new and indigenous versus imported equipment; Performance computations and production estimates Sizing, matching and efficient utilization for optimal production of principal construction plant and machinery Cost accounting, maintaining records and preventive maintenance of construction plant and machinery

WR-555 Air Conditioning and Ventilation

Introduction: Types of air-conditioning systems, design conditions, heat transfer coefficients for indoor and outdoor conditions Load Estimation: Refrigeration and air conditioning load estimation, heat gains through structures Ventilation: Necessity; ventilation standards; natural and mechanical ventilation; forces for natural ventilation; general ventilation rules; advantages of mechanical ventilation; various methods; ejector systems; determining ventilation requirement; use of decay equation. Air cleaning: Physical and chemical vitiation of air, permissible concentration of air contaminants, mechanical and electronic air cleaners, dry and wet filters, air sterilization, odour control Air-conditioning and ventilation ducts: Layout and design Others: Refrigerants; System noise and its control, Environmental issues; Controls for air conditioning and ventilation systems

WR-556 Construction Techniques

Construction planning, job and resource planning, construction scheduling, mechanization in heavy construction, construction plant and its functional classification Selection of type, size and number of construction equipment and techniques for excavation at borrow-pits, transportation from borrow-pits to fill sites, placement, compaction, and quality control for construction of embankments and earth and rockfill dams Selection of type, size and number of construction equipment and techniques for manufacture, transportation, cooling, placement and quality control of concrete for construction of concrete dams/spillways/other structures Selection of type, size and number of construction equipment and techniques for tunneling and underground powerhouses in squeezing, weak, moderate and sound strata Flood frequencies for design of river diversion works, techniques for river diversion, economical height of coffer dams and diameter of diversion tunnels; Different techniques for dewatering, design of pumping and well-point dewatering systems Foundation treatment of concrete and earth dams; Consolidation and curtain grouting, dental treatment and cutoff trenches Equipment and techniques for aggregate recovery, processing and conveyance; Construction utility services

WR-571 Design of Irrigation Structures and Drainage Works

Planning and layout of irrigation system: Necessity, advantages and types of irrigation, techniques of water distribution, alignment. Crop water requirement: Duty, delta base period, irrigation efficiencies, consumptive use, net irrigation requirement, frequency of irrigation; canal capacity, rotational delivery, conveyance and seepage losses. Design of lined and unlined channels: Design for clear and sediment laden water, principles of maximum and minimum permissible velocities, theory of sediment transport, regime concept; Kennedy theory; Lacey`s theory; economics of canal lining, discharge measuring devices. Design of distributary head regulator and cross regulator: Hydraulic design principles, seepage theory, exit gradient, invert filter,  protection works. Design of canal falls/drops: Definition, location and types of canal falls, design principles of vertical drop and fall, Sarda type fall; Glacis type fall; canal escape and their function as safety valve. Water logging: Causes of water logging, types of drainage system, surface drains; layout and design of surface drains their operation and maintenance. Flood control/protection: Design flood and its importance, flood management, structural and non-structural measures

WR-572 Soil and Agronomy

Introduction: Scenario of agriculture in the world characterization of irrigated and rain-fed agriculture. Crops and plants: Definitions, morphological and physiological features, classification, adaptation and ecology. Agro-climate: Elements of weather, analysis of weather data and agro-climatic classification, biomass production potential assessment and yield estimation. Soils: Physical, chemical and biological properties, Taxonomic classification and characterization. Soil survey for land evaluation: Irrigability and drainability   classification, evaluation and productivity assessment of land. Principles and practices of cultivation of crops: Husbandry of cereal, pulses, oilseeds and cash crops; package and practices of crops. Agro Technology Software: Use of computer software like Decision Support System in Agro Technology Transfer (DSSAT) and other crop yield models. Statistical analysis of experimental data: Field experimental techniques; yield estimation and production forecasting. Optimization Techniques: Application of system techniques in crop planning and management

WR- 580 Renewable Energy System Technology

Renewable energy: Definition, history, current state-of-the-art, future use and penetration of renewable energy technologies; Types of renewable energy sources -Solar radiation, tidal and waves, hydro cycle, geothermal . Solar thermal energy conversion technologies: Nature of solar radiation; Insolation; Measurements and estimation; Physical principles of conversion of solar radiation into heat; Flat plate collectors, energy balance equation and collector efficiency, concentrating collectors and flat plate collectors, solar thermal electric power generation. Solar photo voltaic systems: System components and configurations, cells, modules, and arrays, batteries, charge controllers, inverters, system sizing, mechanical integration, electrical integration, utility interconnection. Wind energy: Wind characteristics, data analysis and resource estimation; Wind turbine energy prediction; Measurement of wind velocity and direction; Wind turbine configurations- drag and lift types; Magnus effect in wind turbines; Vortex wind machines; Electric generators for wind turbine application; Power converter, auxiliary equipment; Wind turbine control; Wind turbine sitting considerations; System economics; Environmental aspects and impacts. Tidal power: Tidal phenomena, historical background, basic aspects of tidal power development and tide mills; Tidal power project components; Design considerations- Selection of tidal power sites, feasible tidal range, preliminary design and productivity considerations; Tidal barrier construction techniques- dikes, types of float in modules, concrete caissons. Bio mass energy: Biomass conversion technologies, generation, bio-digestion; Classification of biogas plants– floating drum type and fixed dome type; Thermal gasification of biomass; Biomass gasifiers; Gasification process, application of gasifiers for electricity generation; Pyrolysis and alcohol fuels. Other renewable energy sources: Wave energy and ocean thermal energy conversion technologies; Geothermal energy sources, geothermal exploitation, prime-movers for geothermal energy conversion system, material selection for geothermal power plants, flashed steam and total flow concept. Applications: Application to micro-irrigation, rural water supply, water and waste water treatment, special conditions of preference – off grid and remote  areas; cost effectiveness, use of software.

WR-581 Water Quality Monitoring and Modelling

Water quality parameters: Physical, chemical and biological parameters of natural water bodies like lake, river and estuary; Water quality standards, Eutrophication; Sources of pollution, mass bathing impacts, waste load allocation. Water quality monitoring: Physical, chemical and biological monitoring of rivers; Guidelines for sample size and location of monitoring stations, Sample analysis. Modelling: Characteristics of point and non-point sources of pollution; Solution of diffusion and dispersion problems; Water quality models, case studies. Water purification: Physical, chemical and biological processes, response of streams to biodegradable organic waste; Engineered systems for water and waste water purification. Groundwater quality: Parameters; Sources of salinity, short and long term monitoring; Remedial and preventive measures.

WR-583 Remote Sensing and GIS Applications in Agriculture

Introduction, history of remote sensing, sensors, platforms and their characteristics; Satellite data products.

Principles of remote sensing and data analysis, electromagnetic spectrum, atmospheric effects, energy interaction with earth surface features, basic interaction mechanism of soil, vegetation and water. Image interpretation virtual and digital; Image rectification, image enhancement, image classification and accuracy assessment, use of image processing software. Geographical information system (GIS), definition, essential components of GIS, spatial data structure- raster and vector, spatial and non-spatial relationship, geographic database concepts and analysis, GIS packages and salient features. Use of remote sensing and GIS techniques in agriculture, vegetation cover mapping, crop acreage estimation and disease detection. Application of remote sensing and GIS for estimation of surface and groundwater irrigation potential, erosion hazard assessment, water quality assessment, flood inundation mapping and modeling; Drought monitoring; performance evaluation of irrigation commands; Selection of site for artificial recharge, agricultural management and planning.

.

WR-586 Groundwater Development and Management

Use of groundwater and its impact on irrigation water management; Hydrologic properties of water bearing formation, occurrence, storage and distribution of groundwater; Use of groundwater zone maps; Groundwater resource assessment and budget.

Surface investigations of groundwater; Well hydraulics- steady and unsteady flows; Water wells- test holes and well logs; Design, construction and development of shallow and deep wells, design of screen and gravel packs. Pumps and their selection, installation and testing of pumps; Monitoring and maintenance of wells, causes of failure. Ground water conservation and artificial recharge, sustained yield, water balance equation; Ground-water and surface-water interaction, interference of wells; Watershed conservation measures in irrigation commands. Groundwater flow parameter estimation; Groundwater simulation and conjunctive use models, comparative analysis for management of conjunctive use system. Groundwater quality- agricultural sources of pollution, causes and monitoring; Technical, socio-economic and organizational aspects of groundwater management.

WR-587 Watershed Development and Management

Components of watershed and need of watershed management; Principal factors influencing watershed operations; Delineation of watersheds; Engineering surveys; Data requirement. Watershed hydrology, water resources assessment in watershed, hydrological cycle; Surface water assessment- rainfall-runoff analysis; Groundwater assessment, infiltration and its measurement. Watershed Behavior- Physical elements of watershed, effects of land use changes on hydrological cycle components, watershed experiments. Land capability classification; Erosion process- factors affecting erosion, types of erosion, soil erosion models. Engineering measures for soil and water conservation- Contour bunding, graded bunding, bench terracing, land leveling and  grading; Small storage structures- Types and design data requirement, loose boulder dams, gabions, check dams and their design criteria.. Rainwater harvesting, direct and indirect methods, filter design, planning and design; Layout and execution; Impact assessment,  operation and maintenance issues. Watershed management plan- Methodology of planning a watershed, identification of watershed problems, socio-economic issues including application of Remote sensing and GIS in

.